## Slide 1: R&D Studies of a Lead-Scintillating Fiber Calorimeter as a STAR Forward Detector
Prashanth Shanmuganathan
(for FCal group at STAR)
Physics and R&D goals
Pixelizing the existing cells to improve resolution
Results from Fermilab Test Beam Facility-T1064
Prototype at STAR in Run-14
Conclusions
Outlook: Proposed annular geometry at STAR
Outline
10 cm
10 cm

## Slide 2: Physics Motivations
Improve limited forward instrumentation
D0
D0
DX
D0
D0
DX
IP6
L : insertion length
RHIC has large insertion lengths
Measurement of large XF particle production is feasible
Sufficient pT
φ
-yBeam
+yBeam
y
Δy~2
2

## Slide 3: Physics Motivations
Improve limited forward instrumentation
Proton structure
  Drell Yan
  Dijets
Dijet cross sections as functions of dijet mass (M)
Dijet momentum imbalance (kT)
Dijet longitudinal momentum (pz)
arXiv:1308.4705
AnDY :Perpendicularly polarized p+p
STAR : Spin rotators
=> +/- Helicity proton beam
=> Gluon polarization
=> Low-X measurements
2

## Slide 4: Physics Motivations
Improve limited forward instrumentation
Proton structure
  Drell Yan
  Dijets
Heavy-ion collision
  Event plane detector for all energies
    Strong flow at large η  Better event plane resolution
    Large η gap  Smaller non flow contribution to flow analysis
2

## Slide 5: Physics Motivations
Improve limited forward instrumentation
Proton structure
  Drell Yan
  Dijets
Heavy-ion collision
  Event plane detector for all energies
  Centrality selection
  Long range near side rapidity correlation
  Forward jets in asymmetric HI collisions
  Induced Λ polarization
PΛ
p
p
xF 
pT
PΛ
2

## Slide 6: Goals of R&D project
Does increasing transverse resolution allow reconstruction of neutral pions at higher energies?
  Reconstructing pions -> Tool to calibrate FCal
Can we discriminate incident hadrons (e.g. π, K,..) from electromagnetic particle (e.g. ϒ, e+,e−,…) showers?
AnDY – (10 cm)2
3 < Epair< 15 GeV
Cluster pair mass(GeV/c2)
100000×(1/Ntrg)dN/dM
arXiv:1304.1454
3
Cell row
Cell column
3 < Epair< 50 GeV

## Slide 7: Pixelizing AGS-E864 cells
Transverse resolution is increased by pixelizing
  (10 cm)2 cells  3×3 array of (3.3 cm)2 cells
  Specially designed totally internal reflective optically isolated light guides
  xp2972 photomultiplier tubes
Existing FMS detector electronics with STAR triggers for data collection
4

## Slide 8: Results from Fermilab Test Beam Facility-T1064
1 GeV (π,K,p) to 120 GeV p (resolution <3% )
Cerenkov Detector (Particle Identification)
MWPC Tracking System (Beam profile, trigger)
3×3 Cells (9×9 pixel) were used
Studied shower shapes of e− & π− at beam momenta : 8, 12, 16, 24 GeV/c
Simulations shows good agreement with data
Shows clean separation between e− & π− shower shapes
FHC cells
MWPC
http://ppd.fnal.gov/ftbf/
Cluster energy distribution of center pixel for π− beam
Cluster energy resolution for π− on central pixel
5
π− 16 GeV/c
e− 16 GeV/c
High Tower

## Slide 9: Results from Fermilab Test Beam Facility-T1064
1 GeV (π,K,p) to 120 GeV p (resolution <3% )
Cerenkov Detector (Particle Identification)
MWPC Tracking System (Beam profile, trigger)
3×3 Cells (9×9 pixel) were used
Studied shower shapes of e− & π− at beam momenta : 8, 12, 16, 24 GeV/c
simulations shows Good agreement with data
Shows clean separation between e− & π− shower shapes
FHC cells
MWPC
http://ppd.fnal.gov/ftbf/
R=EHighTower/ECluster
dN/dR (Normalized)
π−
e−
Cluster energy distribution of center pixel for π− beam
Cluster energy resolution for π− on central pixel
5

## Slide 10: 2014 Prototype at STAR
6×6 array of cells (18×18 pixel) were mounted on the North-West side of STAR
Best transverse resolution in forward direction
  Granularity
  Hadronic response
  Large rapidity window
√sNN = 200 GeV Au+Au collisions for commissioning
√sNN = 200 GeV 3He+Au collisions for calibration and analysis
Average energy deposition per run shows stable response throughout the operation
3He
Au
4 < E < 18 GeV
6
Luminosity of 3He+Au ≈ 25 pb-1 of p+p
  (x,y,z) = (-41.4,3.3, 718.9) cm

## Slide 11: Calibration – Relative calibration of pixel
Relative gain correction factors for each pixel are corrected in two steps
1st approximation
  Relative calibration of pixel by comparing the slope from dN/dE distributions from data and simulation
7

## Slide 12: Calibration – Relative calibration of pixel
Fitted Gaussian centroid (m) in red
Fitted Gaussian sigma (s) in blue
Relative gain correction factors for each pixel are corrected in two steps
1st approximation
  Relative calibration of pixel by comparing the slope from dN/dE distributions from data and simulation
2nd approximation - relative energy scale of pixels
  Invariant mass of reconstructed cluster pair; high tower is associated to the pixel
  Iterate until cluster pair mass converge to π0 mass
7
Further, energy dependent correction is also applied for pair mass

## Slide 13: Data vs. Simulation
Invariant mass of good cluster pairs from data vs. Simulation
  Assumed clusters are from π0 decay daughters
  But, clusters may arise from non photons
Vertical axis scaled by minimum-bias events
=> Data and Simulation are in good agreement
8

## Slide 14: Data vs. Simulation
Hits/Clusters were identified using associated particles in simulation
Dominant background is when one cluster is a photon and the other is a hadron
  Can be effectively reduced by good pre-shower detector and additional e/h discrimination from FCal
8

## Slide 15: Lambda reconstruction - Ongoing
PYTHIA events
<x,y> are Λ impact point, from energy weighted average of n, ϒ, ϒ measured positions
Y-axis : PYTHIA decay vertex
X-axis : PYTHIA decay vertex is reconstructed including FCal acceptance and efficiencies
Require two photons and neutron to make distinct clusters
=> The Λ decay vertex can be reconstructed from n, ϒ, ϒ measurements in FCal
n
ϒ
ϒ
<x,y>
Zπ
Decay length
FCal
Λ
9

## Slide 16: Conclusions
Pixelizing E864 cells allows reconstruction of neutral pions to higher energy up to ≈50 GeV
10
3 < Epair< 50 GeV
row
column

## Slide 17: Conclusions
Pixelizing E864 cells allows reconstruction of neutral pions to higher energy up to ~50 GeV
10
3 < Epair< 50 GeV
row
column

## Slide 18: Conclusions
Pixelizing E864 cells allows reconstruction of neutral pions to higher energy up to ~50 GeV
10
Epair = 41.4 GeV
Epair = 11.6 GeV
3 < Epair< 50 GeV
row
column

## Slide 19: Conclusions
Pixelizing E864 cells allows reconstruction of neutral pions to higher energy up to ~50 GeV
Hadronic shower shapes can be distinguished from EM showers with greater than 90% confidence
FCal was stable through 3He+Au collision
Radiation Hardness - no energy re-calibration required over duration of 3He+Au running
Material in-between interaction point and FCal is sufficiently modeled by Geant
10

## Slide 20: Outlook :Proposed Annular Geometry at STAR
West (+Z)
South (+X)
Up (+Y)
18×18 by array (316 cells,2844 pixel)
0 ≤ φ ≤ 2π azimuth coverage
2.7 ≤ η ≤ 4.5 rapidity coverage
=>Best resolution in forward direction
Enables di-jets for low-x measurements
Enables event plane for pA and AA collisions & Centrality selection
Enables long range correlations over -1.1 > η > 4.5
Combined with tracking detectors (e.g. FGT,FPS) physics goals can be extended with unique beam energy range provided by RHIC
  (Drell-Yan, Baryon Stopping, Flow measurements,…)
Significantly improve forward (XF > 0.1) instrumentation at STAR
11

## Slide 21: Backup

## Slide 22: The AGS-E864 lead-scintillating ﬁber hadronic calorimeter
T.A. Armstrong, et al. NIM 406 (1998) 227
Independent measurement of masses of produced particles
Cell size :(10 cm)2 × 117 cm
Showering material is lead
Energy deposition is measured by 47×47 array of scintillating plastic fibers(Spaghetti-type)
1st repurpose – Phenix & Phobos
2nd repurpose - AnDY
3rd repurposing at STAR
10 cm
10 cm
117 cm
Hadronic resolution : 34/√E %

## Slide 23: Calibration – Energy Dependence
Energy dependence (non-linearity) between cluster and the incident particle that created the cluster
Dominated by thresholds (e.g.: ADC, cluster finder)
π0 mass as a function of leading photon energy
Cluster energy
Pair mass before E correction
Pair mass after E correction

## Slide 24: Long range near side rapidity correlation

## Slide 25: Forward jets in asymmetric HI collisions
AnDY preliminary