## Slide 1: STAR detector Capabilities and Forward Upgrade Plans
Zhangbu Xu

## Slide 2: STAR detectors
Present and in the plans
  STAR capabilities for 2016-2020
BES-II iTPC, eTOF, EPD
  Low energy long range correlations
2020+
  Configuration as BES-II for top energy
  Additional Upgrades Not part of RHIC plans at present, but intriguing possibilities

## Slide 3
STAR Detector System
TPC
MTD
Magnet
BEMC
BSMD
BBC
EEMC ESMD
TOF
HFT
Excellent PID at mid-rapidity, X103 increases in DAQ rate since 2000, most precise Silicon Detector (HFT)
FMS FPS
RP
ZDC
15 fully functioning detector systems
DAQ
Trigger
NSAC 2015 RECOMMENDATION #I: The upgraded RHIC facility provides unique capabilities that must be utilized to explore the properties and phases of quark and gluon matter in the high temperatures of the early universe and to explore the spin structure of the proton.

## Slide 4: /s and 3+1D hydrodynamics
Uncertainties in the correct physics of the initial state are still problematic: gluon saturation or Glauber?
Both of these pressing uncertainties can be addressed by extending the longitudinal acceptance of the STAR detector.
To what extent do thermal fluctuations during the expansion phase contribute to the correlations observed in the data?

## Slide 5: What is our present longitudinal capability?
Zero Degree Calorimeter (ZDC ||>5.5)
Forward Meson Spectrometer (FMS 2.6<<4)
Beam-Beam Counter (BBC 3.3<||<5)
Time-Projection Chamber (TPC ||<1) +Time-of-Flight (TOF ||<0.9) +Electromagnetic Calorimeter (EMC -1<<2)

## Slide 6: Longitudinal fluctuation using ZDC
Talks by Yang Wu’s talk at this workshop, measure directed flow v1 using ZDC
Prospects to correlate e.g. with p,p-bar at mid-rapidity , forward-backward correlations vs. beam energy
Useful also in future high energy running

## Slide 7: Mid-rapidity + FMS
In run-16 STAR will utilize the FMS
Prithwish Tribedy

## Slide 8: STAR Forward Meson Spectrometer (FMS)
Detectors are stacked on the west platform in two movable halves.
Schematic of the FMS as seen from the interaction point. The small-cell inner calorimeter has 476 detectors and the large cell outer calorimeter has 788 detectors.

## Slide 9: Detector Upgrades and Performance Improvements
Roman Pots (2015) Tag diffractive protons
Incremental upgrades/improvements, big impacts
Run15,16,17, 19, 20 (Year2015—2020)
Trigger/DAQ x2 throughput
Forward calorimeter instrumentation (2015—2020)
FMS + pre-shower (2015), +post-shower (2017) AN photon, jets, Drell-Yan; ridge, fluctuation, spectators
refurbished HCAL (--2020, forward spectator)
iTPC upgrade (2018) replace inner TPC Sectors
Extend rapidity coverage
Better particle ID; Low pT coverage
Proposal: public STAR Note 0619
Event Plane Detector (2018):
Greatly improved Event Plane Info
Centrality definition
Better trigger
Background rejection
HCAL
FMS+FPS
CBM TOF for STAR Endcap East

## Slide 10: (QM15) Map QCD phase diagram
Rapidity Width
Beam Energy Scan Program:
Turn off QGP Signatures triangle flow (v3) in peripheral at low energy consistent with zero
Search for first-order phase transition minimum net-proton v1 slope from interplay between baryon stopping and soft EOS
Search for critical point net-proton Kurtosis possibly not Poissonian and grow with accepted rapidity window

## Slide 11: Upgrade Plans for BES II
iTPC upgrade:
Sparse pads cover full area;
better dE/dx;
-1 < h < 1 -1.5 < h < 1.5;
pT >125 MeV/c pT > 60 MeV/c.
EPD upgrade:
1.8 < eta < 4.2
Greatly improved Event Plane info (esp. 1st-order EP);
Better trigger & b/g reduction.
E
TPC
P
D
i

## Slide 12: iTPC project
https://drupal.star.bnl.gov/STAR/starnotes/public/sn0644
Sparse pads(20%) cover full area;
better dE/dx;
-1 < h < 1 -1.5 < h < 1.5;
pT >125 MeV/c pT > 60 MeV/c.

## Slide 13: Endcap Time-of-Flight from CBM
eTOF will be positioned at the east end of STAR
~5% occupancy for central Au+Au
-2<eta<-1
Almost Hermetic coverage (iTPC+eTOF+EPD)
https://drupal.star.bnl.gov/STAR/starnotes/public/sn0639

## Slide 14: Event Plane Detector

## Slide 15: Design Criteria
Large rapidity gap relative to the TPC to minimize non-flow effects and physics correlations
Significant radial (16) segmentation to reduce (EP) biases
• Large acceptance to maximize the EP resolution
Symmetric in pseudo rapidity (east and west side) to determine an unbiased EP resolution and to measure as many particles as possible
• Fine granularity (single hit determination) for good EP and centrality resolution

## Slide 16: Event-Plane Detector Coverage
24 sector design
16 channels per sector
Optimal pad sizes determined through simulation
2.3<<5.0

## Slide 17: Rapidity Coverage (<=2017)
TPC-FMS
TPC-FMS
FMS-FMS
TPC+FMS (2016-2017)

## Slide 18: Rapidity Coverage (BES-II)
TPC-FMS
TPC-FMS
FMS-FMS
TPC+iTPC+EPD+FMS (2019--)

## Slide 19: STAR 2020+
Over the year in e.g. decal plan and subsequent document STAR developed plans for running in the period after the BES-II and concurrent with sPHENIX.
These plans have not, yet, been approved by ALD and PAC but it is worthwhile to review what opportunities there are continue running with the STAR detector in 2020+.
https://drupal.star.bnl.gov/STAR/starnotes/public/sn0640

## Slide 20: Possible Implementation
https://drupal.star.bnl.gov/STAR/starnotes/public/sn0648
And
The RHIC Cold QCD Plan from 2017 to 2023: A portal to the EIC - Jan. 2016
Forward Electromagnetic calorimeter and hadronic calorimeter
Complete energy measurement with high granularity.

## Slide 21: Rapidity Coverage (beyond BES-II)
TPC-FCS
TPC-FCS
FCS-FCS
TPC+iTPC+EPD+FCS (2019--)

## Slide 22
“The Future” documents

## Slide 23: Summary
STAR has been at the frontier of flow and correlation analyses
Continue to develop its capability by improving Particle Identification at mid-rapidity and extending acceptance in the forward rapidity; increasing data-taking and online processing capacity.
With a few modest upgrades (300K—3M$)
  facilitate the determination of QGP properties in A+A collisions through improved measurements of the initial density fluctuations as well as the collective flow seeded by these fluctuations.
  further quantify η/s through improved understanding of initial conditions via measurements of longitudinal flow de-correlation, multiple harmonics and event-shape engineering in A+A collisions
  allow studies of the possible existence of and limits on hydrodynamics and jet-medium interaction in small systems at RHIC energies.
Looking forward to more exciting programs at RHIC

## Slide 24
The RHIC Cold QCD Plan from 2017 to 2023: A portal to the EIC - Jan. 2016 draft: December 2015
Endcap TOF proposal-Jan. 2016 draft: Jan. 14, 2016
Event-Plane Proposal-Mar. 2016
SN0648 - January, 2016, STAR Forward Calorimeter and Forward Tracking Systems beyond BES-II (a case study)
SN0644 - Nov. 29, 2016, Technical Design Report for the iTPC Upgrade
SN0640-Oct. 19, 2015, Physics Opportunities with STAR in 2020+
SN0639-Oct. 15, 2015, Letter of Interest: CBM TOF as STAR Endcap TOF for BES-II at RHIC
SN0625-May. 19, 2015, RHIC Beam Use Request for runs 16 and 17
SN0619-Feb. 18, 2015, A Proposal for STAR Inner TPC Sector Upgrade (iTPC)
SN0617-Jan. 19, 2015, a case for run16 pp510 (supplementary material)
e-Print: arXiv:1502.02730, The Hot QCD White Paper: Exploring the Phases of QCD at RHIC and the LHC
e-Print: arXiv:1501.06477, Exploring the properties of the phases of QCD matter - research opportunities and priorities for the next decade
SN0606-Jun. 2, 2014, STAR Beam Use Request (BUR) for run-15 and run-16
SN0605-Jun. 1, 2014, A polarized p+p and p+A program for the next years
SN0598-Mar. 28, 2014, Studying the Phase Diagram of QCD Matter at RHIC
SN0592-Oct. 1, 2013, eSTARLetter of Intent
2014 Computing plan https://drupal.star.bnl.gov/STAR/starnotes/private/psn0622
SN0588-Aug. 21, 2013, EsNETHEP/NP Science Network Requirements 2013
STAR Decadal Plan, December 2010, https://drupal.star.bnl.gov/STAR/starnotes/public/sn0645